Abstract: Short description of the presentation topic about 250 to 600 words.

Background: Feeding problems in small infants are extremely common and are often an early sign of future neurological problems. Quantitative evaluation of such problems is rarely possible; they are usually assessed and managed by trained clinical observers. We describe a small device that captures continuous sucking pressures during feeding that quantitates a number of oral physiologic parameters during sucking. There is nothing conceptually new about our system, but we have used it to develop an automated, computerized data processing and analytical programme [Lang]. We have used this device to examine normal & high-risk neonates during regular feeding to develop some normal parameters.

Methods: Using a regular angled infant feeding bottle and nipple, a 12cm pressure chamber is inserted into the bottle which can contain breast milk or formula. The monitor feeds continuous data to a computer. Infants can be held by caregivers during testing.

Results: As with EKGs or EEGs, results can be examined visually or with the quantitative computer generated programme. Behavioural abnormalities can be detected and followed over time to improve potential diagnoses and to assess the effects of interventions.